MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS			
GENERAL
ITEM	DESCRIPTION	UNIT	QTY	LABOUR
RATE	MATERIAL
RATE	TOTAL
RATE	AMOUNT	
							N$	 c	
1.	GENERAL								
									
	Tenderers shall allow for the following items whatever cost they may consider necessary for carrying out and observance of the item:								
									
1.1	Transport	Sum	1						
									
1.2	Site Establishment	Sum	1						
									
1.3	Setting Out at school only	Sum	1						
									
1.4	Progress Meetings	Sum	1						
									
1.5	Attendance for measurement	Sum	1						
									
1.6	Site Supervision	Sum	1						
									
1.7	Insurance, Warranties	Sum	1						
									
1.8	Telephone, stationery etc.	Sum	1						
									
1.9	Tests and inspection prior to completion.	Sum	1						

									

									

									

									

									

									

									

									

									

									

									

									

									

									

									
									
 TOTAL CARRIED FORWARD TO SUMMARY			
	27-11-2023	

MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS			
MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY
ITEM	DESCRIPTION	UNIT	QTY	LABOUR
RATE	MATERIAL
RATE	TOTAL
RATE	AMOUNT	
							N$	 c	
2.	MASAMBO SCHOOL								
									
2.1	CIVIL WORK								
									
2.1.1	Trench in pickable material for 600/1000V LT underground cables, complete with warning tape, backfill and compaction.	m	188						
									
2.1.2	50mm diameter PVC sleeves for cable entry installed complete including draw-wires.	m	20						
									
2.1.3	50mm diameter PVC long radius bends for cable entry to DB's.	No	4						
									
2.1.4	Excavation, backfilling and building of plinth for kiosk.	No	0						
									
2.1.5	Supply, delivery and installation of concrete cable route markers as follows for 400V cable	No	0						
									
2.1.6	Supply, delivery and installation of channels								
									
	-  P2000	m	10						
									
	-  P9000	m	0						
									
2.1.7	Allow for making good to damaged floors and walls	Sum	1						
									
2.2	1000V CABLE RETICULATION								
									
2.2.1	Supply, delivery and installation of 1000V PVC SWA PVC cables (copper). 								
									
	a) 16mm² x 4C	m	35						
									
	b) 10mm x 3C 	m	105						
									
	c)  4mm² x 3C	m	130						
									
2.2.2	Supply and delivery and installation of bare copper earth wire.								
									
	a) 10mm²	m	35						
									
2.2.3	Supply and delivery and installation of termination units including mechanical clamps, lugs, corrotion, proof bolts, nuts washers etc. to terminate the following cables:								
									
	a) 16mm² x 4C	No	2						
									
	b) 10mm² x 3C	No	6						
									
	c) 4mm² x 3C	No	6						
									
	d) 10mm² BCEW	No	2						
									
2.2.4	Allow for payment to NORED for connection fee	Sum	1						
									
2.2.5	Supply, delivery and installation of a siren in metal cage	No	1						

 TOTAL CARRIED FORWARD			
	27-11-2023	

MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS			
MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY
ITEM	DESCRIPTION	UNIT	QTY	LABOUR
RATE	MATERIAL
RATE	TOTAL
RATE	AMOUNT	
							N$	 c	
 BROUGHT FORWARD			
2.2.6	Supply, delivery and complete installation of a surface and weatherproof lockable distribution board including internal wiring, doors, cables, locks switchgear etc. (MDB)								
									
	a)  Enclosure with 50% spare space	No	1						
									
	b)  60A/TP/CB Mains	No	1						
									
	c)  30A/SP/CB Classrooms block 1	No	1						
									
	d)  30A/SP/CB Classrooms block 2	No	1						
									
	e)  30A/SP/CB Ablutions	No	1						
									
2.3	4 X CLASSROOM BLOCK 								
									
2.3.1	Supply, delivery and complete installation of a surface distribution  board complete including internal wiring, switchgear, doors, cables, locks etc.								
									
	a)  Enclosure with 30% spare space	No	1						
									
	b)  40A DP Isolator, 6kA	No	1						
									
	c)  40A DP EL-Isolator, 6kA	No	1						
									
	d)  5A to 20A SP CB 6kA 	No	7						
									
	e)  16A Isolator, by-pass	No	1						
									
	f)  20A SP Contactor	No	1						
									
2.3.2	Supply, delivery and installation of surface wall mounted socket outlets including 4mm² wiring, steel conduit etc.								
									
	a)  16A SSO	No	9						
									
2.3.3	Supply, delivery and installation of the following light fittings:								
									
	a) Type A	No	17						
									
	b) Type B	No	4						
									
2.3.4	Supply and installation of light points complete with 2,5mm² wiring, steel conduits etc.	No	6						
									
2.3.5	Supply and installation of earth rods plus connection to roof steel as per detail.	No	2						
									
2.3.6	Supply and installation of earth conductor connections as required to distribution board and bonding as required.	Sum	1						
									
2.3.7	Supply, delivery and installation of the following light switches:-								
									
	a)  one way 	No	6						
									
	b) daylight switch in bulkhead fitting	No	1						
									
 TOTAL CARRIED FORWARD			
	27-11-2023	

MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS			
MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY
ITEM	DESCRIPTION	UNIT	QTY	LABOUR
RATE	MATERIAL
RATE	TOTAL
RATE	AMOUNT	
							N$	 c	
 BROUGHT FORWARD			
2.4	3 X CLASSROOM BLOCK 								
									
2.4.1	Supply, delivery and complete installation of a surface and weatherproof distribution  board complete including internal wiring, switchgear, doors, cables, locks etc.								
									
	a)  Enclosure with 30% spare space	No	1						
									
	b)  30A DP Isolator, 6kA	No	1						
									
	c)  40A DP EL-Isolator, 6kA	No	1						
									
	d)  5A to 20A SP CB 6kA 	No	6						
									
	e)  16A Isolator, by-pass	No	1						
									
	f)  20A SP Contactor	No	1						
									
2.4.2	Supply, delivery and installation of surface wall mounted socket outlets including 4mm² wiring, steel conduit etc.								
									
	a)  16A SSO	No	6						
									
2.4.3	Supply, delivery and installation of the following light fittings:								
									
	a) Type A	No	12						
									
	b) Type B	No	2						
									
2.4.4	Supply and installation of light points complete with 2,5mm² wiring, steel conduits etc.	No	3						
									
2.4.5	Supply and installation of earth rods plus connection to roof steel as per detail.	No	2						
									
2.4.6	Supply and installation of earth conductor connections as required to distribution board and bonding as required.	Sum	1						
									
2.4.7	Supply, delivery and installation of the following light switches:-								
									
	a)  one way 	No	3						
									
	b) daylight switch in bulkhead fitting	No	1						
									
2.5	TOILET BLOCK								
									
2.5.1	Supply, delivery and complete installation of a surface and weatherproof distribution  board complete including internal wiring, switchgear, doors, cables, locks etc.								
									
	a)  Enclosure with 30% spare space	No	1						
									
	b)  30A DP-Isolator, 6kA	No	1						
									
	c)  5A to 20A SP CB 6kA 	No	3						
									
	d) 16A SP Isolator, by-pass	No	1						
									
 TOTAL CARRIED FORWARD			
	27-11-2023	

MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS			
MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY
ITEM	DESCRIPTION	UNIT	QTY	LABOUR
RATE	MATERIAL
RATE	TOTAL
RATE	AMOUNT	
							N$	 c	
 BROUGHT FORWARD			
	e)  20A SP Contactor	No	1						
									
2.5.2	Supply and delivery of the following light fittings:-								
									
	a) TYPE B	No	13						
									
2.5.3	Supply and installation of light points complete with 2,5mm² wiring, steel conduits etc.	No	10						
									
2.5.4	Supply and installation of earth rods plus connection to roof steel as per detail.	No	2						
									
2.5.5	Supply and installation of earth conductor connections as required to distribution board and bonding as required.	Sum	1						
									
2.5.6	Supply and installation of light switches:-								
									
	a)  one way, surface, weatherproof 	No	10						
									
	b)  daylight switch in bulkhead fitting	No	1						
									
2.6	CRAFT CENTRE								
									
2.6.1	Supply, delivery and installation of a surface ready board complete with switchgear, doors, cables, locks etc.								
									
	a)  Ready board enclosure with 30% spare space	No	1						
									
	b)  40A DP-Isolator, 6kA	No	1						
									
	b)  32A EL-Isolator, 6kA	No	1						
									
	c) 5A to 20A SP CB - 6kA 	No	2						
									
2.6.2	Supply, delivery and installation of surface wall mounted socket outlets including 4mm² wiring, steel conduit etc.								
									
	a)  16A DSO	No	2						
									
2.6.3	Supply, delivery and installation of the following light fittings:								
									
	a) Type A	No	2						
									
	b) Type B	No	1						
									
2.6.4	Supply and installation of light points complete with 2,5mm² wiring, steel conduits etc.	No	2						
									
2.6.5	Supply and installation of earth rods plus connection to roof steel as per detail.	No	2						
									
2.6.6	Supply and installation of earth conductor connections as required to distribution board and bonding as required	Sum	1						

 TOTAL CARRIED FORWARD			
	27-11-2023	

MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS			
MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY
ITEM	DESCRIPTION	UNIT	QTY	LABOUR
RATE	MATERIAL
RATE	TOTAL
RATE	AMOUNT	
							N$	 c	
 BROUGHT FORWARD			
2.6.7	Supply and installation of light switches:-								
									
	a)  one way 	No	1						
									
	b)  two way 	No	1						
									
	c)  daylight switch in bulkhead fitting	No	0						
									
2.7	CONSERVANCY OFFICE								
									
2.7.1	Supply, delivery and complete installation of surface distribution  boards complete including internal wiring, switchgear, doors, cables, locks etc.								
									
 	a)  Enclosure with 30% spare space (DB-1)	No	1						
									
	b)  60A DP Isolator, 6kA	No	1						
									
	c)  32A DP EL-Isolator, 6kA	No	1						
									
	d)  5A to 40A SP CB 6kA 	No	3						
									
2.7.2	a)  Endosure with 30% spare space (SDB)	No	1						
									
	b)  30A DP-Isolator 6kA	No	1						
									
	c)  5A to 20A SP CB 6kA	No	2						
									
	d)  32A DP EL isolator, 6kA	No	1						
									
2.7.3	Supply, delivery and installation of  surface wall mounted socket outlets including 4mm² wiring, steel conduit etc.								
									
	a)  16A DSO	No	4						
									
2.7.4	Supply, delivey and installation of the following light fittings:								
									
	a) Type A	No	3						
									
	b) Type B	No	2						
									
2.7.5	Supply and installation of light points complete with 2,5mm² wiring, steel conduits etc.	No	3						
									
2.7.6	Supply and installation of earth rods plus connection to roof steel as per detail.	No	4						
									
2.7.7	Supply and installation of earth conductor connections as required to distribution board and bonding as required.	Sum	2						
									
2.7.8	Supply and installation of light switches:								
									
	a)  one way 	No	1						
									
	b)  two way 	No	2						

 TOTAL CARRIED FORWARD TO SUMMARY			
	27-11-2023	

MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS			
MAINTENANCE
ITEM	DESCRIPTION	UNIT	QTY	LABOUR
RATE	MATERIAL
RATE	TOTAL
RATE	AMOUNT	
							N$	 c	
3	MAINTENANCE								
									
3.1	Cost required for the 12 month maintenance period including at least one site visit every 3 months.	Sum	1						

									

									

									

									

									

									

									

									

									

									

									

									

									

									

									

									

									

									

									

									

									

									
 TOTAL CARRIED FORWARD TO SUMMARY			
	27-11-2023	

MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS			

SUMMARY OF SECTIONS

SECTION	DESCRIPTION	AMOUNT	
		N$	 c	
SECT 1	GENERAL			
				
SECT 2	MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY			
				
SECT 3	MAINTENANCE			
				
	Sub-total			
				
	ADD 10% CONTINGENCY			
	Sub-total			
				
	ADD 15% VAT			

				

				

				

				

				

				

				

				

				

				

				

				

				

				

				

				

				
				
 TOTAL CARRIED FORWARD TO FORM OF TENDER			
	27-11-2023