## Schedule
U_Material=G;U_Labour=F | MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS
GENERAL
| ITEM | DESCRIPTION | UNIT | QTY | LABOUR RATE | MATERIAL RATE | TOTAL RATE | AMOUNT N$
199 | 1. | GENERAL
200 |  | Tenderers shall allow for the following items whatever cost they may consider necessary for carrying out and observance of the item:
201 | 1.1 | Transport | Sum | 1 | 0 | 0 | 0 | 0
202 | 1.2 | Site Establishment | Sum | 1 | 0 | 0 | 0 | 0
203 | 1.3 | Setting Out at school only | Sum | 1 | 0 | 0 | 0 | 0
204 | 1.4 | Progress Meetings | Sum | 1 | 0 | 0 | 0 | 0
205 | 1.5 | Attendance for measurement | Sum | 1 | 0 | 0 | 0 | 0
206 | 1.6 | Site Supervision | Sum | 1 | 0 | 0 | 0 | 0
207 | 1.7 | Insurance, Warranties | Sum | 1 | 0 | 0 | 0 | 0
208 | 1.8 | Telephone, stationery etc. | Sum | 1 | 0 | 0 | 0 | 0
209 | 1.9 | Tests and inspection prior to completion. | Sum | 1 | 0 | 0 | 0 | 0
| TOTAL CARRIED FORWARD TO SUMMARY | [6 empty] | 0
12-02-2024
MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS
MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY
| ITEM | DESCRIPTION | UNIT | QTY | LABOUR RATE | MATERIAL RATE | TOTAL RATE | AMOUNT N$
382 | 2. | MASAMBO SCHOOL
383 | 2.1 | CIVIL WORK
384 | 2.1.1 | Trench in pickable material for 600/1000V LT underground cables, complete with warning tape, backfill and compaction. | m | 188 | 0 | 0 | 0 | 0
385 | 2.1.2 | 50mm diameter PVC sleeves for cable entry installed complete including draw-wires. | m | 20 | 0 | 0 | 0 | 0
386 | 2.1.3 | 50mm diameter PVC long radius bends for cable entry to DB's. | No | 4 | 0 | 0 | 0 | 0
387 | 2.1.4 | Excavation, backfilling and building of plinth for kiosk. | No | 0 | 0 | 0 | 0 | 0
388 | 2.1.5 | Supply, delivery and installation of concrete cable route markers as follows for 400V cable | No | 0 | 0 | 0 | 0 | 0
389 | 2.1.6 | Supply, delivery and installation of channels
390 |  | - P2000 | m | 10 | 0 | 0 | 0 | 0
391 |  | - P9000 | m | 0 | 0 | 0 | 0 | 0
392 | 2.1.7 | Allow for making good to damaged floors and walls | Sum | 1 | 0 | 0 | 0 | 0
393 | 2.2 | 1000V CABLE RETICULATION
394 | 2.2.1 | Supply, delivery and installation of 1000V PVC SWA PVC cables (copper).
395 |  | a) 16mm² x 4C | m | 35 | 0 | 0 | 0 | 0
396 |  | b) 10mm x 3C | m | 105 | 0 | 0 | 0 | 0
397 |  | c) 4mm² x 3C | m | 130 | 0 | 0 | 0 | 0
398 | 2.2.2 | Supply and delivery and installation of bare copper earth wire.
399 |  | a) 10mm² | m | 35 | 0 | 0 | 0 | 0
400 | 2.2.3 | Supply and delivery and installation of termination units including mechanical clamps, lugs, corrotion, proof bolts, nuts washers etc. to terminate the following cables:
1184 |  | a) 16mm² x 4C | No | 2 | 0 | 0 | 0 | 0
401 |  | b) 10mm² x 3C | No | 6 | 0 | 0 | 0 | 0
402 |  | c) 4mm² x 3C | No | 6 | 0 | 0 | 0 | 0
403 |  | d) 10mm² BCEW | No | 2 | 0 | 0 | 0 | 0
404 | 2.2.4 | Allow for payment to NORED for connection fee | Sum | 1 | 0 | 0 | 0 | 0
406 | 2.2.5 | Supply, delivery and complete installation of a surface and weatherproof lockable distribution board including internal wiring, doors, cables, locks switchgear etc. (MDB)
407 |  | a) Enclosure with 50% spare space | No | 1 | 0 | 0 | 0 | 0
| TOTAL CARRIED FORWARD | [6 empty] | 0
12-02-2024
MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS
MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY
| ITEM | DESCRIPTION | UNIT | QTY | LABOUR RATE | MATERIAL RATE | TOTAL RATE | AMOUNT N$
| BROUGHT FORWARD | [6 empty] | 0
408 |  | b) 60A/TP/CB Mains | No | 1 | 0 | 0 | 0 | 0
409 |  | c) 30A/SP/CB Classrooms block 1 | No | 1 | 0 | 0 | 0 | 0
1182 |  | d) 30A/SP/CB Classrooms block 2 | No | 1 | 0 | 0 | 0 | 0
410 |  | e) 30A/SP/CB Ablutions | No | 1 | 0 | 0 | 0 | 0
411 | 2.3 | 4 X CLASSROOM BLOCK
412 | 2.3.1 | Supply, delivery and complete installation of a surface distribution board complete including internal wiring, switchgear, doors, cables, locks etc.
413 |  | a) Enclosure with 30% spare space | No | 1 | 0 | 0 | 0 | 0
414 |  | b) 40A DP Isolator, 6kA | No | 1 | 0 | 0 | 0 | 0
415 |  | c) 40A DP EL-Isolator, 6kA | No | 1 | 0 | 0 | 0 | 0
416 |  | d) 5A to 20A SP CB 6kA | No | 7 | 0 | 0 | 0 | 0
418 |  | e) 16A Isolator, by-pass | No | 1 | 0 | 0 | 0 | 0
419 |  | f) 20A SP Contactor | No | 1 | 0 | 0 | 0 | 0
420 | 2.3.2 | Supply, delivery and installation of surface wall mounted socket outlets including 4mm² wiring, steel conduit etc.
421 |  | a) 16A SSO | No | 9 | 0 | 0 | 0 | 0
422 | 2.3.3 | Supply, delivery and installation of the following light fittings:
423 |  | a) Type A | No | 17 | 0 | 0 | 0 | 0
424 |  | b) Type B | No | 4 | 0 | 0 | 0 | 0
425 | 2.3.4 | Supply and installation of light points complete with 2,5mm² wiring, steel conduits etc. | No | 6 | 0 | 0 | 0 | 0
426 | 2.3.5 | Supply and installation of earth rods plus connection to roof steel as per detail. | No | 2 | 0 | 0 | 0 | 0
427 | 2.3.6 | Supply and installation of earth conductor connections as required to distribution board and bonding as required. | Sum | 1 | 0 | 0 | 0 | 0
428 | 2.3.7 | Supply, delivery and installation of the following light switches:-
429 |  | a) one way | No | 5 | 0 | 0 | 0 | 0
430 |  | b) daylight switch in bulkhead fitting | No | 1 | 0 | 0 | 0 | 0
1206 | 2.3.8 | Supply, delivery and complete installation of siren.
1207 |  | a) Siren in a metal cage | No | 1 | 0 | 0 | 0 | 0
1208 |  | b) Siren point complete with 2,5mm² wiring, steel conduits etc. | No | 1 | 0 | 0 | 0 | 0
1209 |  | c) Push button switch | No | 1 | 0 | 0 | 0 | 0
| TOTAL CARRIED FORWARD | [6 empty] | 0
12-02-2024
MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS
MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY
| ITEM | DESCRIPTION | UNIT | QTY | LABOUR RATE | MATERIAL RATE | TOTAL RATE | AMOUNT N$
| BROUGHT FORWARD | [6 empty] | 0
1185 | 2.4 | 3 X CLASSROOM BLOCK
1186 | 2.4.1 | Supply, delivery and complete installation of a surface and weatherproof distribution board complete including internal wiring, switchgear, doors, cables, locks etc.
1187 |  | a) Enclosure with 30% spare space | No | 1 | 0 | 0 | 0 | 0
1188 |  | b) 30A DP Isolator, 6kA | No | 1 | 0 | 0 | 0 | 0
1189 |  | c) 40A DP EL-Isolator, 6kA | No | 1 | 0 | 0 | 0 | 0
1190 |  | d) 5A to 20A SP CB 6kA | No | 6 | 0 | 0 | 0 | 0
1191 |  | e) 16A Isolator, by-pass | No | 1 | 0 | 0 | 0 | 0
1192 |  | f) 20A SP Contactor | No | 1 | 0 | 0 | 0 | 0
1193 | 2.4.2 | Supply, delivery and installation of surface wall mounted socket outlets including 4mm² wiring, steel conduit etc.
1194 |  | a) 16A SSO | No | 6 | 0 | 0 | 0 | 0
1195 | 2.4.3 | Supply, delivery and installation of the following light fittings:
1196 |  | a) Type A | No | 12 | 0 | 0 | 0 | 0
1197 |  | b) Type B | No | 2 | 0 | 0 | 0 | 0
1198 | 2.4.4 | Supply and installation of light points complete with 2,5mm² wiring, steel conduits etc. | No | 4 | 0 | 0 | 0 | 0
1199 | 2.4.5 | Supply and installation of earth rods plus connection to roof steel as per detail. | No | 2 | 0 | 0 | 0 | 0
1200 | 2.4.6 | Supply and installation of earth conductor connections as required to distribution board and bonding as required. | Sum | 1 | 0 | 0 | 0 | 0
1201 | 2.4.7 | Supply, delivery and installation of the following light switches:-
1202 |  | a) one way | No | 3 | 0 | 0 | 0 | 0
1203 |  | b) daylight switch in bulkhead fitting | No | 1 | 0 | 0 | 0 | 0
470 | 2.5 | TOILET BLOCK
471 | 2.5.1 | Supply, delivery and complete installation of a surface and weatherproof distribution board complete including internal wiring, switchgear, doors, cables, locks etc.
472 |  | a) Enclosure with 30% spare space | No | 1 | 0 | 0 | 0 | 0
473 |  | b) 30A DP-Isolator, 6kA | No | 1 | 0 | 0 | 0 | 0
474 |  | c) 5A to 20A SP CB 6kA | No | 3 | 0 | 0 | 0 | 0
475 |  | d) 16A SP Isolator, by-pass | No | 1 | 0 | 0 | 0 | 0
476 |  | e) 20A SP Contactor | No | 1 | 0 | 0 | 0 | 0
| TOTAL CARRIED FORWARD | [6 empty] | 0
12-02-2024
MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS
MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY
| ITEM | DESCRIPTION | UNIT | QTY | LABOUR RATE | MATERIAL RATE | TOTAL RATE | AMOUNT N$
| BROUGHT FORWARD | [6 empty] | 0
477 | 2.5.2 | Supply and delivery of the following light fittings:-
478 |  | a) TYPE B | No | 13 | 0 | 0 | 0 | 0
479 | 2.5.3 | Supply and installation of light points complete with 2,5mm² wiring, steel conduits etc. | No | 11 | 0 | 0 | 0 | 0
480 | 2.5.4 | Supply and installation of earth rods plus connection to roof steel as per detail. | No | 2 | 0 | 0 | 0 | 0
481 | 2.5.5 | Supply and installation of earth conductor connections as required to distribution board and bonding as required. | Sum | 1 | 0 | 0 | 0 | 0
482 | 2.5.6 | Supply and installation of light switches:-
483 |  | a) one way, surface, weatherproof | No | 10 | 0 | 0 | 0 | 0
484 |  | b) daylight switch in bulkhead fitting | No | 1 | 0 | 0 | 0 | 0
485 | 2.6 | CRAFT CENTRE
486 | 2.6.1 | Supply, delivery and installation of a surface ready board complete with switchgear, doors, cables, locks etc.
487 |  | a) Ready board enclosure with 30% spare space | No | 1 | 0 | 0 | 0 | 0
488 |  | b) 40A DP-Isolator, 6kA | No | 1 | 0 | 0 | 0 | 0
1204 |  | b) 32A EL-Isolator, 6kA | No | 1 | 0 | 0 | 0 | 0
490 |  | c) 5A to 20A SP CB - 6kA | No | 2 | 0 | 0 | 0 | 0
491 | 2.6.2 | Supply, delivery and installation of surface wall mounted socket outlets including 4mm² wiring, steel conduit etc.
492 |  | a) 16A DSO | No | 2 | 0 | 0 | 0 | 0
493 | 2.6.3 | Supply, delivery and installation of the following light fittings:
494 |  | a) Type A | No | 2 | 0 | 0 | 0 | 0
495 |  | b) Type B | No | 1 | 0 | 0 | 0 | 0
496 | 2.6.4 | Supply and installation of light points complete with 2,5mm² wiring, steel conduits etc. | No | 2 | 0 | 0 | 0 | 0
497 | 2.6.5 | Supply and installation of earth rods plus connection to roof steel as per detail. | No | 2 | 0 | 0 | 0 | 0
498 | 2.6.6 | Supply and installation of earth conductor connections as required to distribution board and bonding as required | Sum | 1 | 0 | 0 | 0 | 0
499 | 2.6.7 | Supply and installation of light switches:-
500 |  | a) one way | No | 1 | 0 | 0 | 0 | 0
| TOTAL CARRIED FORWARD | [6 empty] | 0
12-02-2024
MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS
MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY
| ITEM | DESCRIPTION | UNIT | QTY | LABOUR RATE | MATERIAL RATE | TOTAL RATE | AMOUNT N$
| BROUGHT FORWARD | [6 empty] | 0
1205 |  | b) two way | No | 1 | 0 | 0 | 0 | 0
501 |  | c) daylight switch in bulkhead fitting | No | 0 | 0 | 0 | 0 | 0
502 | 2.7 | CONSERVANCY OFFICE
503 | 2.7.1 | Supply, delivery and complete installation of surface distribution boards complete including internal wiring, switchgear, doors, cables, locks etc.
504 |  | a) Enclosure with 30% spare space (DB-1) | No | 1 | 0 | 0 | 0 | 0
505 |  | b) 60A DP Isolator, 6kA | No | 1 | 0 | 0 | 0 | 0
506 |  | c) 32A DP EL-Isolator, 6kA | No | 1 | 0 | 0 | 0 | 0
507 |  | d) 5A to 40A SP CB 6kA | No | 3 | 0 | 0 | 0 | 0
511 | 2.7.2 | a) Endosure with 30% spare space (SDB) | No | 1 | 0 | 0 | 0 | 0
512 |  | b) 30A DP-Isolator 6kA | No | 1 | 0 | 0 | 0 | 0
513 |  | c) 5A to 20A SP CB 6kA | No | 2 | 0 | 0 | 0 | 0
514 |  | d) 32A DP EL isolator, 6kA | No | 1 | 0 | 0 | 0 | 0
515 | 2.7.3 | Supply, delivery and installation of surface wall mounted socket outlets including 4mm² wiring, steel conduit etc.
516 |  | a) 16A DSO | No | 4 | 0 | 0 | 0 | 0
517 | 2.7.4 | Supply, delivey and installation of the following light fittings:
518 |  | a) Type A | No | 3 | 0 | 0 | 0 | 0
519 |  | b) Type B | No | 2 | 0 | 0 | 0 | 0
520 | 2.7.5 | Supply and installation of light points complete with 2,5mm² wiring, steel conduits etc. | No | 3 | 0 | 0 | 0 | 0
521 | 2.7.6 | Supply and installation of earth rods plus connection to roof steel as per detail. | No | 4 | 0 | 0 | 0 | 0
522 | 2.7.7 | Supply and installation of earth conductor connections as required to distribution board and bonding as required. | Sum | 2 | 0 | 0 | 0 | 0
523 | 2.7.8 | Supply and installation of light switches:
524 |  | a) one way | No | 1 | 0 | 0 | 0 | 0
525 |  | b) two way | No | 2 | 0 | 0 | 0 | 0
| TOTAL CARRIED FORWARD TO SUMMARY | [6 empty] | 0
12-02-2024
MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS
MAINTENANCE
| ITEM | DESCRIPTION | UNIT | QTY | LABOUR RATE | MATERIAL RATE | TOTAL RATE | AMOUNT N$
527 | 3 | MAINTENANCE
528 | 3.1 | Cost required for the 12 month maintenance period including at least one site visit every 3 months. | Sum | 1 | 0 | 0 | 0 | 0
| TOTAL CARRIED FORWARD TO SUMMARY | [6 empty] | 0
12-02-2024
MINISTRY OF MINES & ENERGY
RURAL ELECTRIFICATION 2023/2024: ZAMBEZI REGION
BUILDING ELECTRICS
SUMMARY OF SECTIONS
| SECTION | DESCRIPTION | [5 empty] | AMOUNT N$
| SECT 1 | GENERAL | [5 empty] | 0
| SECT 2 | MASAMBO: SCHOOL, CRAFT CENTRE & CONSERVANCY | [5 empty] | 0
| SECT 3 | MAINTENANCE | [5 empty] | 0
|  | Sub-total | [5 empty] | 0
|  | ADD 10% CONTINGENCY | [5 empty] | 0
|  | Sub-total | [5 empty] | 0
|  | ADD 15% VAT | [5 empty] | 0
| TOTAL CARRIED FORWARD TO FORM OF TENDER | [6 empty] | 0
12-02-2024